## Sheet1
Location | WS | Q data from raw | Sol data from raw | Done | JMH double check | Q | Ca | DOC | NH4 | NO3 | SRP | SO4 | notes
|  |  |  | UNITS |  | L/s | mg Ca/L | mg C/L | mg NH4-N/L | mg NO3-N/L | mg SRP-P/L | mg SO4-S/L
SEF | WS80 | X | X | X | X | [5 empty] | SRP |  | units on Q are ambiguous in post 2000 dataset | missing a lot of data
BBWM | EB | X | X | X | X | missing 1st 2 years Q, but has chem |  |  | missing lots in last decade |  | N/A |  | what's going on with missing Q
DOR | HP3 | X | dates between smp added | X | X | [5 empty] | TP
DOR | HP3A | X | dates between smp added | X | X | [5 empty] | TP |  |  |  | Prefered column rows
DOR | HP5 | X | dates between smp added | X | X | [5 empty] | TP |  |  |  | Site | WS | Date | Q_Ls | Ca_mgL | DOC_mgL | NH4_mgL | NO3_mgL | SRP_mgL | SO4_mgL
DOR | HP6 | X | dates between smp added | X | X | [5 empty] | TP
DOR | HP6A | X | dates between smp added | X | X | [5 empty] | TP
ELA | EIF | X | X | X | X | [5 empty] | TDP | has TDP and Sus P |  |  |  | to do
ELA | NEIF | X | X | X | X | [5 empty] | TDP |  |  |  |  | Fix units for P
ELA | NWIF | X | X | X | X | [5 empty] | TDP
HBEF | WS6 | X | X | X | X |  |  | N/A |  |  | SRP | no TDP or TP
HBEF | WS7 | X | X | X | X | [5 empty] | SRP
HBEF | WS80 | X | X | X | X | [5 empty] | SRP
HBEF | WS9 | X | X | X | X | [5 empty] | SRP
HJA | HJA08 | X | X | X | X |  |  | limited to second half of time series |  |  | TDP | has TDP and Sus P
HJA | HJA09 | X | X | X | X |  |  | limited to second half of time series |  |  | TDP
MEF | S2 | only in compiled data | X | X | X |  |  |  | DON'T USE | DON'T USE | TP
MEF | S5 | only in compiled data | X | X | X |  |  |  | DON'T USE | DON'T USE | TP
SLP | SLPW9 | X | X | X | X |  | 156 are listed as < value, but value varies from 12-31, while grand var is 9 - 39: weird |  |  |  | VERY LITTLE DATA.alsonot sure if digested or not, filtered, also not sure of units
TLW | C32 | X | X | X | X | not provided with "raw" data, took what looked like most raw data from a "compiled" sheet |  |  |  |  | TP |  | One metadata says these are mg/L/d and another says mg/L, I think mg/L looks right. Also, these say that missing values were generated from linear interpolation, not sure what that means
TLW | C35 | X | X | X | X | not provided with "raw" data, took what looked like most raw data from a "compiled" sheet |  |  |  |  | TP |  | One metadata says these are mg/L/d and another says mg/L, I think mg/L looks right. Also, these say that missing values were generated from linear interpolation, not sure what that means
TLW | C38 | X | X | X | X | not provided with "raw" data, took what looked like most raw data from a "compiled" sheet |  |  |  |  | TP |  | One metadata says these are mg/L/d and another says mg/L, I think mg/L looks right. Also, these say that missing values were generated from linear interpolation, not sure what that means
| Site | Q_Ls | Ca_mgL | DOC_mgL | NH4_mgL | NO3_mgL | SRP_mgL | SO4_mgL | corrected
| SEF | [5 empty] | SRP |  | CAN I GET TDP HERE? | DROP
| BBWM | [5 empty] | NA |  | x
| DOR | [5 empty] | TP |  | x
| ELA |  |  |  | as N | as N | TDP |  | X | IS SO4 AS ION OR ELEMENT
| HBEF |  |  | We're missing DOC, does it exist? | as ions | as ions | SRP (no TDP?) |  | x
| HJA | [5 empty] | TDP |  | x | these are FWMC - need to exclude from code
| MEF | [5 empty] | TP (david says is TDP)_ |  | x
| SLP | [5 empty] | not enough data |  | X
| TLW | [5 empty] | TP (david says is TDP)_ |  | X

## LOQ
Site | Date_start | Date_end | Solute | LOQ_reported | Units_reported | LOQ | units_LOQ | Type | Method | Source | Notes | Notes_a
TLW | 2015-08-01 | 2015-12-01 | Ca | 0.01 | mg/L | 0.01 | mg/L | detection limit | Agilent 7700x ICP-MS - Masshunter software - Cations and Trace Metals (testing) | metadata
TLW | 2016-01-01 | 2018-09-27 | Ca | 0.01 | mg/L | 0.01 | mg/L | detection limit | Agilent 7700x ICP-MS - Masshunter software - Cations and Trace Metals (testing for Hg) | metadata
TLW | 2001-01-01 | 2003-02-01 | Ca | 0.02 | mg/L | 0.02 | mg/L | detection limit | 2001 samples now done on ICP-OES for cations | metadata
TLW | 2001-01-01 | 2015-07-31 | Ca | 0.02 | mg/L | 0.02 | mg/L | detection limit | Varian Vista Axial Simultaneous ICP (Version 1.3) - Cations and Trace Metals | metadata
MEF |  |  | Ca | 0.05 | mg/L | 0.05 | mg/L | method detection limit | ICP-OES | https://www.fs.usda.gov/rds/archive/products/RDS-ext-MEF/_metadata_RDS-ext-MEF-2021-0001.xml
TLW | 1994-01-01 | 2000-01-01 | Ca | 0.075 | mg/L | 0.075 | mg/L | detection limit | Varian Spectra Model 880 - Atomic Absorption Spectrophotometer used for cations-OS 2 software | metadata
HBEF |  |  | Ca | 0.25 | mg/L | 0.25 | mg/L | LOQ (concentration where replicate precision is within 10% of the average) | ICP atomic emmisions spectrometry | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-hbr&identifier=208
HJA |  |  | Ca | 0.06 | mg/L | 0.6 | mg/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD
TLW | 1981-01-01 | 1993-01-01 | Ca |  | mg/L |  | mg/L | detection limit | Atomic Absorption | metadata
BBWM | 1987-01-01 | 1997-12-31 | DOC | 25 | uM | 0.3 | mg/L | detection limit | Dorman DC-80 | The Bear Brook Watershed in Maine: a paired watershed experiment. The First Decade (1987-1997), Norton & Fernandez, eds.
HJA |  |  | DOC | 0.05 | mg/L | 0.5 | mg/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD
HBEF |  |  | DOC | 1.5 | mg/L | 1.5 | mg/L | LOQ (concentration where replicate precision is within 10% of the average) | High Temperature Catalytic oxidation w/ NDIR detection | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-hbr&identifier=208
ELA |  |  | NH4 | 4.4 | ug/L | 0.0044 | mg/L | Minimum detection limit (MDL) |  | metadata
TLW | 2013-05-01 | 2018-09-27 | NH4 | 0.01 | mg/L | 0.01 | mg/L | detection limit | same method as above; run on new AA3 with AACE 6.07 software | metadata
HJA |  |  | NH4 | 0.003 | mg N/L | 0.03 | mg N/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD
HBEF |  |  | NH4 | 0.097 | mg/L | 0.097 | mg/L | LOQ (concentration where replicate precision is within 10% of the average) | colorimetric, salicylate | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-hbr&identifier=208
TLW | 1980-01-01 | 2013-03-01 | NH4 |  | mg/L |  | mg/L | detection limit | Auto Analyzer Automated Sodium Nitroprusside Method | metadata
BBWM | 1998-01-01 | 2014-12-31 | NH4 | [5 empty] | IC | Patel et al. 2019 SSJA
ELA |  |  | NO3 | 1.12 | ug/L | 0.00112 | mg/L | Minimum detection limit (MDL) |  | metadata
HJA |  |  | NO3 | 0.001 | mg N/L | 0.01 | mg N/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD
TLW | 2013-05-01 | 2018-09-27 | NO3 | 0.04 | mg/L | 0.04 | mg/L | detection limit | same method as above; run on new AA3 with AACE 6.07 software | metadata
HBEF |  |  | NO3 | 0.3 | mg/L | 0.067742 | mg/L | LOQ (concentration where replicate precision is within 10% of the average) | IC | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-hbr&identifier=208
TLW | 1980-01-01 | 1995-10-11 | NO3 |  | mg/L |  | mg/L | detection limit | Auto Analyzer Automated Cadmium Reduction Method | metadata
TLW | 1995-10-12 | 2013-03-01 | NO3 |  | mg/L |  | mg/L | detection limit | New buffer used for NO3/NO2 (now using TN buffer) | metadata
BBWM | 1998-01-01 | 2014-12-31 | NO3 | [5 empty] | IC | Patel et al. 2019 SSJA
HJA |  |  | PO4 | 0.001 | mg P/L | 0.01 | mg P/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD
HBEF |  |  | PO4 | 0.02 | mg P/L | 0.02 | mg P/L | LOQ (concentration where replicate precision is within 10% of the average) | colorimetric, molybdate-blue | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-hbr&identifier=208
MEF |  |  | SO4 | 0.02 | mg/L | 0.02 | mg/L | method detection limit | IC | https://www.fs.usda.gov/rds/archive/products/RDS-ext-MEF/_metadata_RDS-ext-MEF-2021-0001.xml
TLW | 2006-01-01 | 2008-01-01 | SO4 | 0.2 | mg/L | 0.2 | mg/L | detection limit | Dionex DX500 (PeakNet software) for all samples | metadata
TLW | 2009-01-01 | 2018-09-27 | SO4 | 0.2 | mg/L | 0.2 | mg/L | detection limit | Dionex ICS1100 (Chromeleon 7 software) for all samples | metadata
TLW | 1980-01-01 | 1983-01-01 | SO4 | 0.5 | mg/L | 0.5 | mg/L | detection limit | Auto Analyzer - SO4-Methyl Thymol Blue method | metadata
TLW | 1984-01-01 | 1996-01-01 | SO4 | 0.5 | mg/L | 0.5 | mg/L | detection limit | Dionex 2110i used for coloured samples, autoanalyzer for non coloured samples | metadata
TLW | 1997-01-01 | 2005-01-01 | SO4 | 0.5 | mg/L | 0.5 | mg/L | detection limit | Dionex DX500 (PeakNet software) for coloured samples, autoanalyzer for non coloured samples | metadata
HJA |  |  | SO4 | 0.02 | mg S/L | 0.59919 | mg SO4/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD
HBEF |  |  | SO4 | 1 | mg/L | 1 | mg/L | LOQ (concentration where replicate precision is within 10% of the average) | IC | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-hbr&identifier=208
HBEF |  |  | TDN | 0.3 | mg/L | 0.3 | mg/L | LOQ (concentration where replicate precision is within 10% of the average) | High Temperature Catalytic oxidation w/ chemiluminescent N detection | https://portal.edirepository.org/nis/mapbrowse?scope=knb-lter-hbr&identifier=208
ELA |  |  | TDP | 0.5 | ug/L | 0.0005 | mg/L | Minimum detection limit (MDL) |  | metadata
HJA |  |  | TDP | 0.002 | mg/L | 0.02 | mg/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD
HJA |  |  | TDN | 0.01 | mg/L | 0.1 | mg/L | precision |  | http://andlter.forestry.oregonstate.edu/data/attributesdetail.aspx?dbcode=CF002&entnum=1 | LOQ sometimes defined as 10x SD, assume precision reported here = SD | as TKN
TLW | 1979-01-01 | 1993-04-01 | TDN | 0.02 | mg/L | 0.02 | mg/L | detection limit | TKN Lachat | metadata |  | as TN
TLW | 1994-01-01 | 2018-09-01 | TDN | 0.05 | mg/L | 0.05 | mg/L | detection limit | TN analyzed on Autoanalyzer system (autoclave digestion, automated CD reduction method) | metadata |  | as TN
TLW | 1993-05-01 | 1993-12-01 | TDN | [5 empty] | NA | metadata |  | as TN
TLW | 1986-04-23 | 2013-03-01 | DOC | 0.4 | mg/L | 0.4 | mg/L | detection limit | no more Astro, for carbon analysis, Auto Analysers used ; Sample purged - N2, Acid & Potassium persulfate - UV rad-dialysis-OC inversely measured | metadata |  | as TOC
TLW | 2013-05-01 | 2018-09-27 | DOC | 0.4 | mg/L | 0.4 | mg/L | detection limit | run on autoanalyzers - same method as above - run on new AA3 with AACE 6.07 software | metadata |  | as TOC
MEF |  |  | DOC | 0.5 | mg/L | 0.5 | mg/L | method detection limit | total carbon minus inorganic carbon (TC-IC) before June 2010 and as non-purgeable organic carbon (NPOC) after that. ebestyen et al. (2020 ) show that the TC-IC and NPOC are comparable to within 10% relative error as a measure of TOC concentration | https://www.fs.usda.gov/rds/archive/products/RDS-ext-MEF/_metadata_RDS-ext-MEF-2021-0001.xml |  | as TOC
TLW | 1982-01-01 | 1986-04-22 | DOC |  | mg/L |  | mg/L | detection limit | Astro Analyzer(Total Carbon) and Inorganic Carbon | metadata |  | as TOC
TLW | 1981-01-01 | 1982-02-01 | TDP | 0.001 | mg/L | 0.001 | mg/L | detection limit | Auto Analyzer | metadata |  | as TP
TLW | 391982 | 1985-02-01 | TDP | 0.001 | mg/L | 0.001 | mg/L | detection limit | TP analyses contracted out to EnviroClean Laboratories, London, Ont - simultaneous determination with TN | metadata |  | as TP
TLW | 1985-11-01 | 2018-09-01 | TDP | 0.001 | mg/L | 0.001 | mg/L | detection limit | TP analyzed on Autoanalyser system (autoclave/persulfate digestion, automated molybdophosphoric blue method) | metadata |  | as TP
DOR | [9 empty] | all papers reference Ontario Ministry of the Environment 1983
SLP | [9 empty] | varies- stored with data